## WPC-7350
StudyDate | Scanner | ScanData | Project | DateTime | SubID | Sequence | PED | TR | TE | Matrix | PixelResol | BWP | BWPPE | FA | TA | FoV | iPAT | MB | FoVShift | SlcLeakBlk | SeqMode | SequenceName | Coil | Provider | ShimMode | B0Shim | Operator | B0ShimSuccess
20240703 | AWP167046 | /disk/mace2/scan_data | WPC-7350 | 2024.07.03-15.42.29 | 9068 | diff_105_AP_110x110.21 | A > P | 3000.00 | 84.00 | 110x110 | 2.00x2.00x2.00 | 1515.00 | 11.65 | 90.00 | 05:32 | 220.00x220.00 | 1 | 4 | 0 | - | DWI | *ep_b2500#106 | HEA;HEP | SIEMENS | Standard | 1144 -2497 4572 439 -101 110 -42 63 | SC | Success
20240703 | AWP167046 | /disk/mace2/scan_data | WPC-7350 | 2024.07.03-15.42.29 | 9068 | diff_70_AP_110x110.20 | A > P | 3000.00 | 75.00 | 110x110 | 2.00x2.00x2.00 | 1515.00 | 11.65 | 90.00 | 03:40 | 220.00x220.00 | 1 | 4 | 0 | - | DWI | *ep_b1000#69 | HEA;HEP | SIEMENS | Standard | 1144 -2497 4572 439 -101 110 -42 63 | SC | Success
20240703 | AWP167046 | /disk/mace2/scan_data | WPC-7350 | 2024.07.03-15.42.29 | 9068 | diff_35_AP---MAKE-SURE-PHASE-DIR-IS-AP_110x110.19 | A > P | 3000.00 | 75.00 | 110x110 | 2.00x2.00x2.00 | 1515.00 | 11.65 | 90.00 | 01:55 | 220.00x220.00 | 1 | 4 | 0 | - | DWI | *ep_b750#34 | HEA;HEP | SIEMENS | Standard | 1144 -2497 4572 439 -101 110 -42 63 | SC | Success
20240703 | AWP167046 | /disk/mace2/scan_data | WPC-7350 | 2024.07.03-15.42.29 | 9068 | b0_TE=84-Phase-Dir--A>P_110x110.18 | A > P | 3000.00 | 84.00 | 110x110 | 2.00x2.00x2.00 | 1515.00 | 11.65 | 90.00 | 17.00 | 220.00x220.00 | 1 | 4 | 0 | - | DWI | *ep_b0 | HEA;HEP | SIEMENS | Standard | 1144 -2497 4572 439 -101 110 -42 63 | SC | Success
20240703 | AWP167046 | /disk/mace2/scan_data | WPC-7350 | 2024.07.03-15.42.29 | 9068 | b=0_TE=75--phase-die-A>P_110x110.17 | R > L | 3000.00 | 75.00 | 110x110 | 2.00x2.00x2.00 | 1515.00 | 11.65 | 90.00 | 16.00 | 220.00x220.00 | 1 | 4 | 0 | - | DWI | *ep_b0 | HEA;HEP | SIEMENS | Standard | 1144 -2497 4572 439 -101 110 -42 63 | SC | Success
20240703 | AWP167046 | /disk/mace2/scan_data | WPC-7350 | 2024.07.03-15.42.29 | 9068 | diff_105_PA_110x110.16 | P > A | 3000.00 | 84.00 | 110x110 | 2.00x2.00x2.00 | 1515.00 | 11.65 | 90.00 | 05:32 | 220.00x220.00 | 1 | 4 | 0 | - | DWI | *ep_b2500#106 | HEA;HEP | SIEMENS | Standard | 1144 -2497 4572 439 -101 110 -42 63 | SC | Success
20240703 | AWP167046 | /disk/mace2/scan_data | WPC-7350 | 2024.07.03-15.42.29 | 9068 | diff_70_PA_110x110.15 | P > A | 3000.00 | 75.00 | 110x110 | 2.00x2.00x2.00 | 1515.00 | 11.65 | 90.00 | 03:40 | 220.00x220.00 | 1 | 4 | 0 | - | DWI | *ep_b1000#69 | HEA;HEP | SIEMENS | Standard | 1144 -2497 4572 439 -101 110 -42 63 | SC | Success
20240703 | AWP167046 | /disk/mace2/scan_data | WPC-7350 | 2024.07.03-15.42.29 | 9068 | diff_35_PA---MAKE-SURE-PHASE-DIR-IS-PA_110x110.14 | P > A | 3000.00 | 75.00 | 110x110 | 2.00x2.00x2.00 | 1515.00 | 11.65 | 90.00 | 01:55 | 220.00x220.00 | 1 | 4 | 0 | - | DWI | *ep_b750#34 | HEA;HEP | SIEMENS | Standard | 1144 -2497 4572 439 -101 110 -42 63 | SC | Success
20240703 | AWP167046 | /disk/mace2/scan_data | WPC-7350 | 2024.07.03-15.42.29 | 9068 | gre_field_mapping_104x104.13 | A > P | 639.00 | 6.84 | 104x104 | 2.02x2.02x2.00 | 1455.00 | 0.00 | 60.00 | 02:11 | 210.00x210.00 | 1 | 1 | 0 | - | GRFM | *fm2d2r | HEA;HEP | SIEMENS | Standard | 1143 -2497 4568 425 -110 81 -41 57 | SC
20240703 | AWP167046 | /disk/mace2/scan_data | WPC-7350 | 2024.07.03-15.42.29 | 9068 | gre_field_mapping_104x104.12 | A > P | 639.00 | 4.38 | 104x104 | 2.02x2.02x2.00 | 1455.00 | 0.00 | 60.00 | 02:11 | 210.00x210.00 | 1 | 1 | 0 | - | GRFM | *fm2d2r | HEA;HEP | SIEMENS | Standard | 1143 -2497 4568 425 -110 81 -41 57 | SC
20240703 | AWP167046 | /disk/mace2/scan_data | WPC-7350 | 2024.07.03-15.42.29 | 9068 | SpinEchoFieldMap_2_936x936.11 | P > A | 8000.00 | 66.00 | 104x104 | 2.02x2.02x2.00 | 2290.00 | 16.58 | 90.00 | 32.00 | 210.00x210.00 | 1 | 1 | 1 | - | SE | epse2d1_104 | HEA;HEP | - | Standard | 1143 -2497 4568 425 -110 81 -41 57 | SC | Success
20240703 | AWP167046 | /disk/mace2/scan_data | WPC-7350 | 2024.07.03-15.42.29 | 9068 | SpinEchoFieldMap_1_936x936.10 | A > P | 8000.00 | 66.00 | 104x104 | 2.02x2.02x2.00 | 2290.00 | 16.58 | 90.00 | 32.00 | 210.00x210.00 | 1 | 1 | 1 | - | SE | epse2d1_104 | HEA;HEP | - | Standard | 1143 -2497 4568 425 -110 81 -41 57 | SC | Success
20240703 | AWP167046 | /disk/mace2/scan_data | WPC-7350 | 2024.07.03-15.42.29 | 9068 | rs_936x936.9 | A > P | 800.00 | 30.00 | 104x104 | 2.02x2.02x2.00 | 2290.00 | 16.58 | 52.00 | 06:50 | 210.00x210.00 | 1 | 8 | 0 | - | BOLD | *epfid2d1_104 | HEA;HEP | SIEMENS | Standard | 1143 -2497 4568 425 -110 81 -41 57 | SC | Success
20240703 | AWP167046 | /disk/mace2/scan_data | WPC-7350 | 2024.07.03-15.42.29 | 9068 | fMRI3_936x936.8 | A > P | 800.00 | 30.00 | 104x104 | 2.02x2.02x2.00 | 2290.00 | 16.58 | 52.00 | 04:58 | 210.00x210.00 | 1 | 8 | 0 | - | BOLD | *epfid2d1_104 | HEA;HEP | SIEMENS | Standard | 1143 -2497 4568 425 -110 81 -41 57 | SC | Success
20240703 | AWP167046 | /disk/mace2/scan_data | WPC-7350 | 2024.07.03-15.42.29 | 9068 | fMRI2_936x936.7 | A > P | 800.00 | 30.00 | 104x104 | 2.02x2.02x2.00 | 2290.00 | 16.58 | 52.00 | 04:58 | 210.00x210.00 | 1 | 8 | 0 | - | BOLD | *epfid2d1_104 | HEA;HEP | SIEMENS | Standard | 1143 -2497 4568 425 -110 81 -41 57 | SC | Success
20240703 | AWP167046 | /disk/mace2/scan_data | WPC-7350 | 2024.07.03-15.42.29 | 9068 | fMRI1_936x936.6 | A > P | 800.00 | 30.00 | 104x104 | 2.02x2.02x2.00 | 2290.00 | 16.58 | 52.00 | 04:58 | 210.00x210.00 | 1 | 8 | 0 | - | BOLD | *epfid2d1_104 | HEA;HEP | SIEMENS | Standard | 1143 -2497 4568 425 -110 81 -41 57 | SC | Success